- GENERAL

SECTION INCLUDES

** NOTE TO SPECIFIER ** Delete items below that are not required for your project.

Roller shades including the following:

Single roller shades.

Double roller shades.

Shade accessories.

Fabrics.

RELATED SECTIONS

** NOTE TO SPECIFIER ** Add related sections as required for your project.

Section 06 10 00 - Rough Carpentry. Wood blocking for the attachment of brackets.

Section 09 59 00- Acoustical Ceilings. Shade accessories including shade pockets and tile support

SUBMITTALS

Submit under provisions of Section 01 30 00 - Administrative Requirements.

Product Data: Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Shop Drawings: Provide elevation of each type of installation and details for mounting.

** NOTE TO SPECIFIER ** Delete requirement for selection samples if colors have already been selected.

Selection Samples: Two complete sets of color chips representing manufacturer's full range of available colors and patterns.

Verification Samples: For each fabric specified, two samples (minimum size 2 inches square) representing actual material and color.

QUALITY ASSURANCE

Manufacturer Qualifications: Minimum 10 years of experience manufacturing similar products.

Installer Qualifications: Minimum 5 years of experience installing similar products.

** NOTE TO SPECIFIER ** Include a mock-up if the project size or complexity warrants the need.

Mock-Up: Provide a finished mock-up with correct fabric and accessories representative of the project.

** NOTE TO SPECIFIER ** Delete if not required.

Child Safety Standards: Shades and installation shall be in compliance with ANSI/WCMA child safety standards.

PRE-INSTALLATION MEETINGS

Conduct on-site meeting prior to starting work of this section to review project requirements.

DELIVERY, STORAGE, AND HANDLING

Deliver and store products in manufacturer's unopened packaging bearing the brand name and manufacturer's identification until ready for installation.

Handling: Handle materials to avoid damage.

Roller shade installation to commence once all finish work has been completed.

PROJECT CONDITIONS

Maintain environmental conditions between 32 and 104 degrees Fahrenheit and humidity below 90%. Do not install products under environmental conditions outside manufacturer's recommended limits.

SEQUENCING

Ensure that products of this section are supplied to affected trades in time to prevent interruption of construction progress.

- PRODUCTS

MANUFACTURERS

Acceptable Manufacturer: WT Shade, a division of Inpro: 12830 Virkler Drive, Suite 500, Charlotte, NC 28273;       Toll Free Tel: 877-294-3580; Email:WTcustservice@inprocorp.com Web:www.WTShade.com

** NOTE TO SPECIFIER ** Delete either B or C below depending on requirements for your project.

Substitutions: Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01 60 00 - Product Requirements.

SINGLE ROLLER SHADES

** NOTE TO SPECIFIER ** Delete all of Section A if this system is not required.

Pocket Cordless Roller Shade as manufactured by WT Shade.

** NOTE TO SPECIFIER ** Delete model not required.

Model options based on shade size: CF200 Pocket and CF300 Pocket.

Adjustable tension spring system with lightweight, balanced tension for optimal shade positioning with the touch of a finger.

Universal Mounting Bracket shall be Ceiling, Wall, or Jamb Mount capable. Refer to drawings. Unless noted in drawings, shade dealer is responsible for selecting proper size of brackets based on window sizes and maintaining consistency within spaces.

Regular or Reverse Roll available. Refer to drawings.

Max Roll Diameter: CF200 = 2-3/4 inches (70 mm). CF300 = 3-3/4 inches (95 mm).

Hembar: Aluminum External Hembar with clear handle.

Extruded 6061-T6 aluminum

Color: White (-10), Ivory (-04), Silver (-20), Bronze (-50), Black (-90).

End caps available in White (-10) or Black (-90).

Optional 1/2 inch (12 mm) non-adhesive brush insert, Grey (-80).

Drive system.

Adjustable tension springs that accommodate 1-1/2” and 2” roller tube sizes.

Spring Mechanism Finish: White (-10).

Idler mechanism shall be spring loaded with interchangeable housing to allow for multiple tube sizes. Spring loaded idler shall have a metal axle for added strength and safety. Idlers with plastic attachment points shall not be accepted.

Composition: 10 percent glass filled nylon.

Idler Finish: White (-10) or Black (-90). Idler will be color coordinated based on fabric color. See WT Shade Color Coordination Guide for details.

Bracket Finish: Zinc Plated (-49).

** NOTE TO SPECIFIER **Delete all of Section B if this system is not required.

SoloMount Cordless Roller Shade as manufactured by WT Shade.

Model options based on shade size: CF200 SoloMount and H300 SoloMount. SoloMount brackets are available with front fascia and/or rear fascia.

Adjustable tension spring system with lightweight, balanced tension for optimal shade positioning with the touch of a finger.

Universal Mounting Bracket shall be Ceiling, Wall, or Jamb Mount capable. Refer to drawings. Unless noted in drawings, shade dealer is responsible for selecting proper size of brackets based on window sizes and maintaining consistency within spaces.

Regular Roll or Reverse Roll. Refer to drawings.

Maximum Roll Diameter: CF200 = 2-3/4 inches (70 mm). CF300= 3-3/4 inches (95 mm).

Hembar: Aluminum External Hembar with clear handle.

Extruded 6061-T6 aluminum.

Color: White (-10), Ivory (-04), Silver (-20), Bronze (-50), Black (-90).

End caps available in White (-10) or Black (-90).

Optional 1/2 inch (12 mm) non-adhesive brush insert, Grey (-80).

Drive system.

Adjustable tension springs that accommodate 1-1/2” and 2” roller tube sizes.

Spring Mechanism Finish: White (-10).

Idler mechanism shall be spring loaded with interchangeable housing to allow for multiple tube sizes. Spring loaded idler shall have a metal axle for added strength and safety. Idlers with plastic attachment points shall not be accepted.

Composition: 10 percent glass filled nylon.

Idler Finish: White (-10) or Black (-90). Idler will be color coordinated based on fabric color. See WT Shade Color Coordination Guide for details.

SoloMount Bracket Finish: White (-10) or Black (-90). SoloMount Brackets will be color coordinated based on fabric color. See WT Shade Color Coordination Guide for details.

** NOTE TO SPECIFIER ** Delete sizes and finishes not required.

Available Notchless Front and/or Rear Fascia sizes: CF200= 3-3/8”: CF300= 4-7/16”

Front Fascia and Rear Fascia finishes are 6061-T6 Aluminum in White(-10), Ivory(-04), Silver(-20), Bronze(-50), Black(-90).

** NOTE TO SPECIFIER ** optional. End caps cover the ends of the brackets if the brackets are going to be exposed to sight. Delete if not required.

Available 1060 Aluminum End Caps are not to exceed 1/32” thick and are press fit onto SoloMount brackets. End Cap finish is to be exact finish of Front and/or Rear Fascia.

** NOTE TO SPECIFIER **Delete all of Section 2.3 if Double shades are not required.

DOUBLE ROLLER SHADES

SoloMount Dual Cordless Roller Shade as manufactured by WT Shade.

Model options based on shade size: CF200PB SoloMount Dual. SoloMount brackets are available with front fascia and/or rear fascia

Adjustable tension spring system with lightweight, balanced tension for optimal shade positioning with the touch of a finger.

Universal Mounting Bracket shall be Ceiling, Wall, or Jamb Mount capable. Refer to drawings. Unless noted in drawings, shade dealer is responsible for selecting proper size of brackets based on window sizes and maintaining consistency within spaces.

Regular Roll only.

Maximum Roll Diameter: CF200PB = 2-3/4 inches (70 mm).

Hembar: Aluminum External Hembar with clear handle.

Extruded 6061-T6 aluminum

Color: White (-10), Ivory (-04), Silver (-20), Bronze (-50), Black (-90).

End caps available in White (-10) or Black (-90).

Optional 1/2 inch (12 mm) non-adhesive brush insert, Grey (-80).

Drive system.

Adjustable tension springs that accommodate 1-1/2” and 2” roller tube sizes.

Spring Mechanism Finish: White (-10).

Idler mechanism shall be spring loaded with interchangeable housing to allow for multiple tube sizes. Spring loaded idler shall have a metal axle for added strength and safety. Idlers with plastic attachment points shall not be accepted.

Composition: 10 percent glass filled nylon.

Idler Finish: White (-10) or Black (-90). Idler will be color coordinated based on fabric color. See WT Shade Color Coordination Guide for details.

SoloMount Bracket Finish: White (-10) or Black (-90). SoloMount Brackets will be color coordinated based on fabric color. See WT Shade Color Coordination Guide for details.

Available Notchless Front and/or Rear Fascia sizes: CF200PB = 6-13/16”

Front Fascia and Rear Fascia finishes are 6061-T6 Aluminum in White(-10), Ivory(-04), Silver(-20), Bronze(-50), Black(-90)

** NOTE TO SPECIFIER ** optional. End caps cover the ends of the brackets if the brackets are going to be exposed to sight. Delete if not required.

Available 1060 Aluminum End Caps are not to exceed 1/32” thick and are press fit onto SoloMount brackets. End Cap finish is to be exact finish of Front and/or Rear Fascia.

SHADE ACCESSORIES

Light Blocking: Provide side channels, center channels, sill channel or light stop angles.

Extruded 6061-T6 aluminum.

Side channels include 1/4 Inch (6 mm) non-adhesive brush insert Grey (-80).

Color: White (-10), Ivory (-04), Silver (-20), Bronze (-50), Black (-90).

Light Stop Angles available in White (-10) and Silver (-20)

Provide channel top caps and hole plugs with channels.

Provide where indicated or required by drawings.

Shade pockets: Provide shade pockets as indicated or required by drawings.

Extruded 6061-T6 aluminum (.060" thick) in White (-10) or 20 gauge galvanized 1018 CRS in mill finish.

Provide splice pins and end caps where indicated or required by drawings.

Provide ceiling tile support where indicated or required by drawings.

Sizes:

** NOTE TO SPECIFIER ** Delete sizes not required.

5" x 5" (extruded aluminum).

5" x 5" with tile support (extruded aluminum).

6" x 9" with white aluminum closure mount (20 gauge galvanized 1018 CRS).

6" x 9" with white aluminum closure mount with tile support (20 gauge galvanized 1018 CRS).

** NOTE TO SPECIFIER **. Delete all of Section C below if not required.

Bottom Closure & Closure Mount: Provide where indicated or required by drawings.

Extruded 6061-T6 aluminum (.060 thick).

Finished White (-10).

Sizes:

** NOTE TO SPECIFIER ** Delete sizes not required.

2" Bottom Closure.

3" Bottom Closure.

5" Bottom Closure.

Closure Mount.

Closure Mount with Tile Support.

** NOTE TO SPECIFIER ** Optional.. Delete all of Section D below if not required.

Extendable Operating Wand

Mounts to wall with mounting clip for easy storage.

Interacts with hembar handle to extend reach by 27” – 77”.

Color: White (-10).

**NOTE TO SPECIFIER** Select fabric option for your project below. WT Shade also carries fabrics from Mermet www.mermetusa.com and Phifer www.phifer.com/suncontrol/interior. When using fabrics from these manufacturers detail in section below.

FABRICS

WT Shade Solar Protective Screen Fabrics.

Screen Fabric: 1 percent to 5 percent Openness Factor

UV Blockage: 99 percent - 95 percent.

WT Shade 132 Fabric (Openness Factor: 2 percent), Basketweave

Composition: 100 percent Polyester

Fabric Thickness: 0.021", Fabric Weight: 9.3 (OZ/YD

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 24X Series

241 Fabric (Openness Factor: 1 percent), 2x2 Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.025", Fabric Weight: 15.04 (OZ/YD).

Greenguard Gold Certified; ASTM G21; ASTM E2180.

Select color from manufacturers standard colors.

243 Fabric (Openness Factor: 3 percent), Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.024", Fabric Weight: 13.71 (OZ/YD).

Greenguard Gold Certified; ASTM G21; ASTM E2180.

Select color from manufacturers standard colors.

245 Fabric (Openness Factor: 5 percent), Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.024", Fabric Weight: 12.68 (OZ/YD).

Greenguard Gold Certified; ASTM G21; ASTM E2180.

Select color from manufacturers standard colors.

WT Shade 25X Series

253 Fabric (Openness Factor: 3 percent), 2 x 2 Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.024", Fabric Weight: 12.7 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 35X Series

351 Fabric (Openness Factor: 1 percent), Twill Weave.

Composition: 25 percent Polyester/ 75 percent PVC.

Fabric Thickness: 0.028", Fabric Weight: 14.8 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

353 Fabric (Openness Factor: 3 percent), Twill Weave.

Composition: 25 percent Polyester/ 75 percent PVC.

Fabric Thickness: 0.026", Fabric Weight: 12.7 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

355 Fabric (Openness Factor: 5 percent), Twill Weave.

Composition: 25 percent Polyester/ 75 percent PVC.

Fabric Thickness: 0.026", Fabric Weight: 12.1 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade Solar Protective Privacy Fabrics.

Privacy Fabric: <1 percent Openness Factor

UV Blockage: 99 percent

WT Shade 251 Fabric: (Openness Factor: <1 percent), 2 x 2 Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.028", Fabric Weight: 15.2 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 441 Fabric: (Openness Factor: <1 percent), Horizontal weave.

Composition: 25 percent Polyester/ 75 percent PVC.

Fabric Thickness: 0.039", Fabric Weight: 20.4 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 840 Fabric: (Openness Factor: 1 percent), PVC Free Translucent Cloth.

Composition: 100 percent Polyester.

Fabric Thickness: 0.016", Fabric Weight: 6.3 (OZ/YD).

Select color from manufacturers standard colors.

WT Shade Solar Protective Light Blocking Fabrics.

Blackout Fabric: 0 percent Openness Factor.

UV Blockage: 100 percent.

WT Shade 245B Fabric: (Openness Factor: 0 percent).

Composition: 78 percent PVC / 22 percent Polyester with White acrylic backing.

Fabric Thickness: 0.027", Fabric Weight: 18.27 (OZ/YD).

Greenguard Gold Certified; ASTM G21; ASTM E2180.

Select color from manufacturers standard colors

WT Shade 700 Fabric: (Openness Factor: 0 percent).

Composition: 75 percent PVC / 25 percent Fiberglass.

Fabric Thickness: 0.013", Fabric Weight: 12.5 (OZ/YD).

Greenguard Gold Certified; ASTM G21.

Select color from manufacturers standard colors.

WT Shade 762 Fabric: (Openness Factor: 0 percent).

Composition: 100 percent Polyester with White acrylic backing

Fabric Thickness: 0.014", Fabric Weight: 10.6 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 770GC Fabric: (Openness Factor: 0 percent).

Composition: 100 percent Polyester with Grey acrylic backing

Fabric Thickness: 0.018", Fabric Weight: 11.8 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 772 Fabric: (Openness Factor: 0 percent).

Composition: 100 percent Polyester with White backing.

Fabric Thickness: 0.0236", Fabric Weight: 13.27 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 784 Fabric: (Openness Factor: 0 percent).

Composition: 100 percent Polyester with White acrylic backing.

Fabric Thickness: 0.027", Fabric Weight: 12.1 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade Decorative Sheer Fabrics:

Sheer Fabric: 17 percent to 18 percent Openness Factor

UV Blockage: 83 percent to 84 percent.

WT Shade 150 Fabric (Openness Factor: 18 percent)

Composition: 100 percent Polyester.

Fabric Thickness: 0.015", Fabric Weight: 3.6 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 160 Fabric (Openness Factor: 18 percent).

Composition: 100 percent Polyester.

Fabric Thickness: 0.016", Fabric Weight: 4.2 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 170 Fabric (Openness Factor: 17 percent).

Composition: 100 percent Polyester.

Fabric Thickness: 0.014", Fabric Weight: 4.8 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 180 Fabric (Openness Factor: 17 percent).

Composition: 100 percent Polyester.

Fabric Thickness: 0.017", Fabric Weight: 5.0 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade Printed Fabrics

Printed Fabric: 0 percent to 3 percent Openness Factor

UV Blockage: 100 percent to 97 percent.

WT Shade 251 Fabric (Openness Factor: <1 percent), 2 x 2 Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.028", Fabric Weight: 15.2 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 253 Fabric (Openness Factor: 3 percent), 2 x 2 Basketweave.

Composition: 22 percent Polyester/ 78 percent PVC.

Fabric Thickness: 0.024", Fabric Weight: 12.7 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 700 Fabric: (Openness Factor: 0 percent).

Composition: 75 percent Vinyl / 25 percent Fiberglass.

Fabric Thickness: 0.013", Fabric Weight: 12.5 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

WT Shade 740 Fabric: (Openness Factor: 0 percent).

Composition: 100 percent Polyester.

Fabric Thickness: 0.013", Fabric Weight: 7.96 (OZ/YD).

Greenguard Gold Certified.

Select color from manufacturers standard colors.

Additional Fabric Options

Mermet®: www.mermetusa.com

SheerWeave® by Phifer: www.phifer.com

- EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

If substrate preparation is the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

PREPARATION

Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

INSTALLATION

Install in accordance with manufacturer's instructions. Test for proper operation and adjust until satisfactory results are obtained.

** NOTE TO SPECIFIER ** Delete if not required.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

END OF SECTION